## Slide 1: Sustainability- Principles and Practices
Chapter 10
Hydroelectric & Geothermal Electric Generation

## Slide 2: LEARNING OBJECTIVES
Define sustainability.
Discuss the Conference of Parties meeting in Paris in 2015
Define the term Carbon War Room or CWR.
Describe the “1.5 to Stay Alive” initiative
Explain the six leading green economy investments.
Identify how sustainability can be introduced into schools and the STEM (Science, Technology, Engineering and Math) curriculum
List the programs that can prepare the future green workforce

## Slide 3: HYDROELECTRICITY 1.
Hydroelectricity
  Converting flowing water energy
    Into mechanical energy of a turbine
    AC hydroelectric generator to generate electricity
    China largest producer of hydroelectricity
Hydropower in a Pipe: 1:54
How to Make Electricity with Water: 3:52

## Slide 4: FIGURE 10-1 hydroelectric plant using a dam for the water supply.

## Slide 5: HYDROELECTRICITY
NO ANIMATION IN FOLDER

## Slide 6: HYDROELECTRICITY 2.
Economic Impact
  Cheap to produce, very competitive source
    Does not consume or use any water or fossil fuels
    >10 megawatts costs about is 3-5 cents per kilowatt-hour
    Dam is a barrier that impounds water or underground streams
    Reservoirs created by dams not only suppress floods
    Provide a water supply for hydroelectricity
    Produces no waste, and lower level of greenhouse gases

## Slide 7: HYDROELECTRICITY 3.
History of Hydroelectricity
  Schoelkopf Power Station produce electricity in 1881
    1st Edison hydroelectric power plant was the Vulcan Street Plant, in September 30, 1882, 12.5 kilowatts
    40% of power produced in US by 1920 was hydroelectric
Figure 10-2 first major hydro-electric power plant in the world in Niagara Falls

## Slide 8: HYDROELECTRICITY 4.
Federal Power Act passed into law
  Created Federal Power Commission
    Regulate hydroelectric power stations
    Federal funding became necessary for large-scale development
      TVA (Tennessee Valley Authority) in 1933
      Bonneville Power Administration (1937)
      Hoover Dam's 1,345 MW power station
        World's largest hydroelectric power station in 1936
      Surpassed by 6,809 MW Grand Coulee Dam in 1942

## Slide 9: FIGURE 10-3 view A: Hoover Dam, View B: Grand Coulee Dam
View A:
View B:

## Slide 10: QUESTION 1:
Which of these is defined as converting the energy of flowing water into mechanical energy to turn an AC hydroelectric generator to generate electricity?
a. Photovoltaic energy
b. Hydroelectricity
c. Energy of water
d. Water energy

## Slide 11: ANSWER 1:
Hydroelectricity

## Slide 12: CONVENTIONAL HYDROELECTRIC DAM 1.
Head of Water
  Most hydroelectric power comes from potential energy
  Dammed water driving a water turbine & generator
  Power extracted depends on flow volume
  From head of water or difference in height
    Between source and water's outflow
  Large pipe or penstock delivers water from
    Reservoir to turbine

## Slide 13: FIGURE 10-4 conventional hydroelectric dam

## Slide 14: CONVENTIONAL HYDROELECTRIC DAM 2.
Hydroelectric Advantages
  Flexibility: output can be ramped up and down
  Low Power Costs: no fossil fuels
  Suitability:
  Reduced CO2 Emissions: do not burn fossil fuels
  Reservoir Use: Reservoirs provide other uses

## Slide 15: CONVENTIONAL HYDROELECTRIC DAM 3.
Disadvantages
  Ecosystem damage and loss of land
  Siltation and flow shortage
  Methane Emissions (from reservoirs)
  Relocation: need to relocate people
  Failure risks: Dam & hydroelectric power station failures.

## Slide 16: QUESTION 2:
What is defined as the difference in height between the source and the water's outflow?
a. Pondage
b. Water pressure
c. Height of water
d. Head of Water

## Slide 17: ANSWER 2:
Head of Water

## Slide 18: PUMPED-STORAGE HYDROELECTRIC DAM 1.
Produces Electricity
  Moving water between reservoirs at different elevations
  Low demand, excess generation capacity used
  Pump water into upper reservoir
  High demand water is released back into lower-level r
  Provide most important means of large-scale grid energy
  Improve daily capacity factor
    SEE FIGURE 10-5 NEXT SLIDE

## Slide 19: FIGURE 5 pumped-storage hydroelectric system

## Slide 20: QUESTION 3:
What type of hydroelectricity production produces electricity by moving water between reservoirs at different elevations for peak demands?
a. Standard
b. Run of the river
c. Pumped-storage
d. Dumped storage

## Slide 21: ANSWER 3:
Pumped-storage

## Slide 22: STUDENT ACTIVITY 1.
Download WORD file: Building a Hydroelectric Generator

## Slide 23: RUN OF THE RIVER 1.
Run-of-the-River (ROR) Hydroelectricity
  Little or no water storage is used
  Referred to as pondage
  No pondage has no water storage
  Subject to seasonal river flows
  Intermittent energy source
  Plant with pondage can regulate the water flow
  At all times and serve as peaking power plant

## Slide 24: FIGURE 10-6 Run-of-the-river hydroelectricity

## Slide 25: FIGURE 10-7 Run-of-the-river plant with a small dam built to create a headpond or headgate to make sure there is enough water entering penstock pipes that lead to turbines which are at a lower elevation.

## Slide 26: RUN OF THE RIVER 2.
Run-of-the-River Advantages
  Create sustainable energy
  Cleaner power, fewer greenhouse gases
  Less flooding/reservoirs:
    substantial flooding of upper part of river is not required
    Large reservoir is not required
    People do not need to be relocated

## Slide 27: RUN OF THE RIVER 3.
Run-of-the-River Disadvantages
  Little or no capacity for energy storage
  Generates much more power during times
    When seasonal river flows are high but not low flow
  Create a reservoir hundreds of miles (kilometers) long
  Environmental impacts:
    Large projects have more environmental concerns

## Slide 28: QUESTION 4: ?
What is a hydroelectricity plant where little or no water storage is used?
a. Conventional
b. Run of the river
c. Pumped-storage
d. Dumped storage

## Slide 29: ANSWER 4:
Run of the river

## Slide 30: MICRO-HYDRO SYSTEMS 1.
Micro-Hydro Systems
  Produces from 5 kilowatts (kW) to 100 kilowatts
  Using natural flow of water
  Provide power to an isolated home or small community
  Connected to electric power grids
  Developing nations
    Accomplished with Pelton wheel for high head
    Low flow water supply. SEE FIGURE 10-9

## Slide 31: FIGURE 10-8 Micro-hydro hydroelectric power system

## Slide 32: FIGURE 10-9 The Pelton wheel is an impulse type water turbine that was invented by Lester Allan Pelton in the 1870s. The installation is often just a small dammed pool, at the top of a waterfall, with several hundred feet of pipe leading to a small generator housing, SEE FIGURE 10-8

## Slide 33: MICRO-HYDRO SYSTEMS 2.
Micro-Hydro Power Advantages
  Uses Natural flow of water to create the power
  No direct emissions resulting from this conversion
  ROR system meaning water diverted from river
  Redirected back into the same watercourse
  Adds to potential economic benefits of efficiency
An Introduction to Micro Hydro System: 7:14

## Slide 34: MICRO-HYDRO SYSTEMS 3.
Micro-Hydro Power Disadvantages
  Limited mainly by site characteristics
  Direct limitation comes from small sources
    With microscopic flow.
  Water flow can fluctuate seasonally in some areas.
  Distance from power source to site in need of energy

## Slide 35: PICO-HYDRO SYSTEMS 1.
Pico Hydro System
  Less than 5 kilowatts
  Remote communities require only a small amount
  Smaller turbines of 200 to 300 watts may power
  Single home in a developing country
  ROR system meaning water diverted from river
  Redirected back into the same watercourse
Pico Hydro for Science: 8:30

## Slide 36: FIGURE 10-10 Pico-hydro installation

## Slide 37: GRID ENERGY STORAGE 1.
Grid Energy Storage
  Methods used to store electrical energy
    Within an electrical power grid
    2016, biggest form of grid energy storage
    Dammed hydroelectricity
    Alternatives to grid storage includes
    Peaking power plants to fill in
    Feeds power to grids consumption exceeds production

## Slide 38: FIGURE 10-11 hydroelectricity power grid system

## Slide 39: STUDENT ACTIVITY 2.
Download WORD file: PICO-HYDRO Systems Project

## Slide 40: GRID ENERGY STORAGE 2.
Grid Storage Advantages:
  Electricity generated by intermittent sources
  Stored and used later instead of being wasted
  Peak generating capacity can be reduced
  Increased stable pricing
  Emergency preparedness where the needs can be met
How Grid Storage Works (Animated): 1:38

## Slide 41: HYDROELECTRICITY EROEI (ENERGY RETURNED ON ENERGY INVESTED) EROEI 1.
EPBT (Energy Payback Time)
  Time requisite to generate as much energy
  As is consumed during production/lifetime of system
  Plant with an 8 kilowatt system might achieve
  Full potential 50% of year
  Produce 35,040 kilowatt hours per year
  Enough energy for five semi-detached homes
  Payback period of approximately 7years

## Slide 42: HYDROELECTRICITY EROEI (ENERGY RETURNED ON ENERGY INVESTED) EROEI 2.
EROEI uses Formula:
Energy Transfer and Efficiency: 21:22
Returns on Renewable Energy Investments: 1:16:33

## Slide 43: GEOTHERMAL ENERGY 1.
Geothermal Energy
  Energy derived from heat of earth
  Core is distance of 4,000 miles and is so hot
  Temperatures at least 5,000 degrees centigrade
  Thermal energy determines matter temperature
  Well drilled and earth’s core heats water into steam
  Drives turbine to drive AC generator produce electricity
Energy 101: Geothermal Energy: 3:48

## Slide 44: FIGURE 10-12 geothermal power plant schematic.

## Slide 45: GEO-THERMAL ELECTRICITY

## Slide 46: GEOTHERMAL BINARY CYCLE
NO ANIMATION IN FOLDER

## Slide 47: FREQUENTLY ASKED QUESTION?
Where does geothermal energy come from?
  The geothermal energy of the Earth's crust originates from the original formation of the planet and from radioactive decay of materials. The geothermal gradient, which is the difference in temperature between the core of the planet and its surface, drives a continuous conduction of thermal energy in the form of heat from the core to the surface.

## Slide 48: FIGURE 10-13 We used geothermal energy from hot springs for therapeutic baths and space heating since ancient Roman times, however it is now better known for electricity generation

## Slide 49: GEOTHERMAL ENERGY 2.
Earth's Geothermal Resources
  Theoretically more than adequate to supply needs
  Very small fraction may be profitably exploited
  Drilling and exploration for deep resources expensive.
  Forecasts for the future of geothermal power
  Depend on assumptions about technology
    Energy prices, subsidies, and interest rates

## Slide 50: FIGURE 10-14 For industrial project, you need to drill well into hot aquifer. Aquifer is an underground layer of water-bearing permeable rock, rock fractures or unconsolidated materials (gravel, sand, or silt) from which groundwater can be extracted using a water well. If no adequate aquifer is available, artificial one may be built by injecting water to hydraulically fracture bedrock

## Slide 51: GEOTHERMAL ENERGY 3.
Geothermal Power
  Renewable because heat extraction is small
    Compared to the Earth's heat content
    Earth has an internal heat content of 1,031 joules
    100 billion times current worldwide 2010 energy consumption
    Extraction of earth core heat taps a very small fraction
    Natural core outflow, without accelerating flow
    Geothermal power is sustainable

## Slide 52: QUESTION 5:
What is energy derived from the heat of the earth?
a. Hydropower
b. Geothermal
c. Thermal
d. Core

## Slide 53: ANSWER 5:
Geothermal

## Slide 54: STUDENT ACTIVITY 3.
Download WORD file: Hydroelectric vs. Coal Powered Electricity

## Slide 55: STUDENT ACTIVITY 4.
Download WORD file: Building a Model Geothermal Plant

## Slide 56: Summary (1 of 3)
Hydroelectricity is defined as converting the energy of flowing water into mechanical energy to turn an AC hydroelectric generator to generate electricity.
The hydroelectric plant produces no direct waste, and has a lower output level of greenhouse gases than fossil fuel powered electricity plants.
The power extracted from the water depends on the flow volume coming from the head of water or the difference in height between the source and the water's outflow.
A large pipe or penstock delivers water from the reservoir to the turbine.
Hydroelectric advantages are flexibility, low power costs, elimination of the cost of fuel, sustainability, reduced CO2 emissions, and reservoir use.

## Slide 57: Summary (2 of 3)
Hydroelectric disadvantages are ecosystem damage and loss of land, siltation and flow shortage, methane emission, relocation, and failure risks.
The pumped-storage hydroelectricity production process plant produces electricity by moving water between reservoirs at different elevations for peak demands.
Run-of-the-river (ROR) hydroelectricity is a hydroelectricity plant with little or no water storage and is subject to seasonal river flows.
Micro-hydro is hydroelectric power that produces from 5 kilowatts (kW) to 100 kilowatts of electricity using the natural flow of water. Installations that are less than 5 kilowatts are called Pico-hydro systems.
Grid energy storage is a group of methods used to store electrical energy on a large scale within an electrical power grid. As of 2016, the biggest form of grid energy storage is dammed hydroelectricity.

## Slide 58: Summary (3 of 3)
Hydroelectric dams with large reservoirs can be used to provide peak generation at times of peak demand.
The EPBT (Energy Payback Time) of a power generating system is the time requisite to generate as much energy as is consumed during the production and lifetime operation of the energy system.
EROEI (Energy Returned on Energy Invested) is the ratio of electricity generated divided by the energy required to build and maintain the equipment, which is an economic measure, closely related to the energy payback time.
Geothermal energy is energy derived from the heat of the earth core
A well is drilled to the core and heat from the earth’s core heats water into steam that drives a turbine to drive an AC generator to produce electricity.